## Analysis
Final Barcode: | [6 empty] | Initials:
Well Position | Target Volume (uL) | Reported Volume (uL) | Result | Difference (uL) | Difference (%) | Notes | High Tolerance (uL) | Low Tolerance (uL)
A1 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
A2 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
A3 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
A4 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
A5 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
A6 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
A7 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
A8 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
A9 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
A10 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
A11 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
A12 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
B1 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
B2 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
B3 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
B4 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
B5 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
B6 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
B7 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
B8 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
B9 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
B10 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
B11 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
B12 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
C1 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
C2 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
C3 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
C4 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
C5 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
C6 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
C7 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
C8 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
C9 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
C10 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
C11 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
C12 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
D1 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
D2 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
D3 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
D4 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
D5 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
D6 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
D7 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
D8 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
D9 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
D10 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
D11 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
D12 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
E1 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
E2 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
E3 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
E4 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
E5 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
E6 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
E7 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
E8 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
E9 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
E10 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
E11 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
E12 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
F1 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
F2 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
F3 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
F4 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
F5 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
F6 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
F7 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
F8 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
F9 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
F10 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
F11 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
F12 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
G1 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
G2 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
G3 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
G4 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
G5 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
G6 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
G7 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
G8 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
G9 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
G10 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
G11 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
G12 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
H1 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
H2 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
H3 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
H4 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
H5 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
H6 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
H7 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
H8 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
H9 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
H10 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
H11 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10
H12 | 0 | 100 | FAIL | 100 | #DIV/0! |  | 10 | -10

## Raw Data
A1 | 2620763 | 52163180 | 100 | 187072044 | 0.29
A2 | 2620763 | 52163188 | 100 | 187072052 | 0.29
A3 | 2620763 | 52163196 | 100 | 187072060 | 0.28
A4 | 2620763 | 52163204 | 100 | 187072068 | 0.29
A5 | 2620763 | 52163212 | 100 | 187072076 | 0.28
A6 | 2620763 | 52163220 | 100 | 187072084 | 0.28
A7 | 2620763 | 52163228 | 100 | 187072092 | 0.29
A8 | 2620763 | 52163236 | 100 | 187072100 | 0.28
A9 | 2620763 | 52163244 | 100 | 187072108 | 0.29
A10 | 2620763 | 52163252 | 100 | 187072116 | 0.28
B1 | 2620763 | 52163181 | 100 | 187072045 | 0.29
B2 | 2620763 | 52163189 | 100 | 187072053 | 0.29
B3 | 2620763 | 52163197 | 100 | 187072061 | 0.28
B4 | 2620763 | 52163205 | 100 | 187072069 | 0.28
B5 | 2620763 | 52163213 | 100 | 187072077 | 0.29
B6 | 2620763 | 52163221 | 100 | 187072085 | 0.29
B7 | 2620763 | 52163229 | 100 | 187072093 | 0.29
B8 | 2620763 | 52163237 | 100 | 187072101 | 0.29
B9 | 2620763 | 52163245 | 100 | 187072109 | 0.22
B10 | 2620763 | 52163253 | 100 | 187072117 | 0.29
C1 | 2620763 | 52163182 | 100 | 187072046 | 0.29
C2 | 2620763 | 52163190 | 100 | 187072054 | 0.29
C3 | 2620763 | 52163198 | 100 | 187072062 | 0.3
C4 | 2620763 | 52163206 | 100 | 187072070 | 0.29
C5 | 2620763 | 52163214 | 100 | 187072078 | 0.27
C6 | 2620763 | 52163222 | 100 | 187072086 | 0.29
C7 | 2620763 | 52163230 | 100 | 187072094 | 0.28
C8 | 2620763 | 52163238 | 100 | 187072102 | 0.3
C9 | 2620763 | 52163246 | 100 | 187072110 | 0.28
C10 | 2620763 | 52163254 | 100 | 187072118 | 0.29
D1 | 2620763 | 52163183 | 100 | 187072047 | 0.29
D2 | 2620763 | 52163191 | 100 | 187072055 | 0.29
D3 | 2620763 | 52163199 | 100 | 187072063 | 0.27
D4 | 2620763 | 52163207 | 100 | 187072071 | 0.28
D5 | 2620763 | 52163215 | 100 | 187072079 | 0.29
D6 | 2620763 | 52163223 | 100 | 187072087 | 0.28
D7 | 2620763 | 52163231 | 100 | 187072095 | 0.28
D8 | 2620763 | 52163239 | 100 | 187072103 | 0.28
D9 | 2620763 | 52163247 | 100 | 187072111 | 0.28
D10 | 2620763 | 52163255 | 100 | 187072119 | 0.27
E1 | 2620763 | 52163184 | 100 | 187072048 | 0.31
E2 | 2620763 | 52163192 | 100 | 187072056 | 0.29
E3 | 2620763 | 52163200 | 100 | 187072064 | 0.29
E4 | 2620763 | 52163208 | 100 | 187072072 | 0.29
E5 | 2620763 | 52163216 | 100 | 187072080 | 0.28
E6 | 2620763 | 52163224 | 100 | 187072088 | 0.29
E7 | 2620763 | 52163232 | 100 | 187072096 | 0.29
E8 | 2620763 | 52163240 | 100 | 187072104 | 0.28
E9 | 2620763 | 52163248 | 100 | 187072112 | 0.28
F1 | 2620763 | 52163185 | 100 | 187072049 | 0.3
F2 | 2620763 | 52163193 | 100 | 187072057 | 0.29
F3 | 2620763 | 52163201 | 100 | 187072065 | 0.29
F4 | 2620763 | 52163209 | 100 | 187072073 | 0.29
F5 | 2620763 | 52163217 | 100 | 187072081 | 0.28
F6 | 2620763 | 52163225 | 100 | 187072089 | 0.3
F7 | 2620763 | 52163233 | 100 | 187072097 | 0.29
F8 | 2620763 | 52163241 | 100 | 187072105 | 0.3
F9 | 2620763 | 52163249 | 100 | 187072113 | 0.29
G1 | 2620763 | 52163186 | 100 | 187072050 | 0.3
G2 | 2620763 | 52163194 | 100 | 187072058 | 0.28
G3 | 2620763 | 52163202 | 100 | 187072066 | 0.28
G4 | 2620763 | 52163210 | 100 | 187072074 | 0.29
G5 | 2620763 | 52163218 | 100 | 187072082 | 0.29
G6 | 2620763 | 52163226 | 100 | 187072090 | 0.3
G7 | 2620763 | 52163234 | 100 | 187072098 | 0.29
G8 | 2620763 | 52163242 | 100 | 187072106 | 0.3
G9 | 2620763 | 52163250 | 100 | 187072114 | 0.28
H1 | 2620763 | 52163187 | 100 | 187072051 | 0.31
H2 | 2620763 | 52163195 | 100 | 187072059 | 0.33
H3 | 2620763 | 52163203 | 100 | 187072067 | 0.29
H4 | 2620763 | 52163211 | 100 | 187072075 | 0.28
H5 | 2620763 | 52163219 | 100 | 187072083 | 0.29
H6 | 2620763 | 52163227 | 100 | 187072091 | 0.27
H7 | 2620763 | 52163235 | 100 | 187072099 | 0.3
H8 | 2620763 | 52163767 | 100 | 187072107 | 0.29
H9 | 2620763 | 52163251 | 100 | 187072115 | 0.31

## Validation
Intended Use: [use Alt+Enter for carriage return]
Requirements and Testing
Worksheet ID: |  | Analysis
Line # | Requirement [Use as many lines as necessary to identify all calculation and conditional formatting formulae] | Test Description [Identify test data and entry instructions to demonstrate that the functions are correct] | Expected Results | Pass / Fail | Initial & Date | Comments
1 | When the volume data is retrieved for the barcode of interest and pasted onto the "Raw Data" worksheet, the volumes are imported into the B column. In B column: ‘=SUM(IF(A4='Raw Data'!B:B,'Raw Data'!E:E,IF(A4='Raw Data'!A:A,'Raw Data'!D:D,0)))’ | Paste data from barcode 7670323. | For Well Positions A1-A3, target volume = 399. For Well Positions A4-A12, target volume = 0. | Pass | GLM 5/9/2013
2 | When the reported volume of a well is entered, the worksheet will calculate the uL difference. Column E = (C#-B#). | Enter 350 into C4. Enter 450 into C4. Enter 0 into C4. | E4 = -49. E4 = 51. E4 = -399. | Pass | GLM 5/9/2013
3 | When the reported volume of a well is entered, the worksheet will calculate the % difference. Column F = E#/B#. | Enter 350 into C4. Enter 450 into C4. Enter 0 into C4. | F4 = -12.28%. F4 = 12.78%. F4 = -100.00% | Pass | GLM 5/9/2013
4 | When the target volume of a well is entered, the worksheet will calculate the High Tolerance. Column H = (B#*1.05)+10. | Enter 399 into B4. | H4 = 429. | Pass | GLM 5/9/2013
5 | When the target volume of a well is entered, the worksheet will calculate the Low Tolerance. Column I = (B#*0.95)-10. | Enter 399 into B4. | H4 = 369. | Pass | GLM 5/9/2013
6 | When the reported dispense of a well is entered, the worksheet will alert the user if the well passes or fails with a green or red indicator. Column D =IF(AND(C4<=H4,C4>=I4),"PASS","FAIL"). | Enter 350 into C4. Enter 400 into C4. Enter 0 into C4. Enter 0 into C7. | D4 = FAIL. D4 = PASS. D4 = FAIL. D7 = PASS. | Pass | GLM 5/9/2013
7 | Security: All cells except those required for user entry are locked. 1. Select all cells in worksheet. 2. Format >> Cells… >> Protection [tab] and check Locked and select OK. 3. Now select all cells in worksheet that require user entry and set protection as Unlocked and OK. 4. Under Tools >> Protection >> Protect Sheet … and make sure "Protect worksheet and contents of locked cells" is Checked and select OK. | Enter information into any Unlocked cell. Try to edit any formula or Locked cell. | For Unlocked cells, information is accepted without error For Locked Cells, an Error message indicating that the cells are protected appears and data is not accepted. | Pass | GLM 5/9/2013
Worksheet ID: |  | Raw Data
Line # | Requirement [Use as many lines as necessary to identify all calculation and conditional formatting formulae] | Test Description [Identify test data and entry instructions to demonstrate that the functions are correct] | Expected Results | Pass / Fail | Initial & Date | Comments
1 | No calculations are done on this tab. Raw data is pasted onto this sheet at the specified cell. | Paste data from barcode 7670323. | Position, Mfg Item, Sample ODs and Sample Volume data appear for the barcode of interest. | Pass | GLM 5/9/2013
3 | Security: All cells except those required for user entry are locked. 1. Select all cells in worksheet. 2. Format >> Cells… >> Protection [tab] and check Locked and select OK. 3. Now select all cells in worksheet that require user entry and set protection as Unlocked and OK. 4. Under Tools >> Protection >> Protect Sheet … and make sure "Protect worksheet and contents of locked cells" is Checked and select OK. | Enter information into any Unlocked cell. Try to edit any formula or Locked cell. | For Unlocked cells, information is accepted without error For Locked Cells, an Error message indicating that the cells are protected appears and data is not accepted. | Pass | GLM 5/9/2013 | This worksheet is to remain unlocked. Data is pasted onto this worksheet.
Sharing your Workbook and generating History audit trail. IMPORTANT! Create and protect each worksheet prior to Sharing the Workbook
Line # | Requirement | Test Description | Expected Result | Pass / Fail | Initial & Date | Comments
| Tracking Changes: 1. Open the Tools >> Share Workbook… menu. 2. On the Editing Tab, make sure "Allow Changes by more than one user…" is Checked. 3. On the Advanced Tab check "Keep change history for: 1825 days". 4. Select update changes "When file is saved". 5. Select "The changes being saved win". 6. Print and filter settings are Checked and select OK (this will automatically save the workbook). | Test and view History of tracked changes to ensure Audit trail is acceptable for use. 1. In the Tools >> Options >> General Tab, enter your name in the User field. Select OK. 2. In the workbook being tested, enter "Audit Test" into one of the unlocked user entry cells and Save the workbook. 2. Open the Tools >> Track Changes >> Highlight Changes … menu. 3. Check "Track changes while editing". 4. Unckeck "Who", "When", and "Where" 5. Uncheck "Highligh changes on screen" 6. Check "List changes on a new sheet". and press OK. NOTE: Once completed, delete your changes and save the workbook prior to controlling in Pilgrim. | The History tab should appear. Select Audit Test from the New Value column filter drop-down list and verify that the Date, Time, Your Name, Worksheet Name, and Cell Range match your actions for the changes made. | Pass | GLM 5/9/2013
| Validation Plan Created By | Golda Monohon | Validation Plan Created Date | 2013-05-09
| Validation Plan Approved By | Curt Franklin | Validation Plan Approved Date | 2013-05-09