## Analysis
Final Barcode: | [6 empty] | Initials:
Well Position | Target Volume (uL) | Reported Volume (uL) | Result | Difference (uL) | Difference (%) | Notes | High Tolerance (uL) | Low Tolerance (uL)
A1 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
A2 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
A3 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
A4 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
A5 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
A6 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
A7 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
A8 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
A9 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
A10 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
A11 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
A12 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
B1 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
B2 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
B3 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
B4 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
B5 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
B6 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
B7 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
B8 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
B9 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
B10 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
B11 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
B12 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
C1 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
C2 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
C3 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
C4 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
C5 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
C6 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
C7 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
C8 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
C9 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
C10 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
C11 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
C12 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
D1 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
D2 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
D3 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
D4 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
D5 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
D6 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
D7 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
D8 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
D9 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
D10 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
D11 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
D12 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
E1 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
E2 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
E3 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
E4 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
E5 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
E6 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
E7 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
E8 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
E9 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
E10 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
E11 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
E12 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
F1 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
F2 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
F3 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
F4 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
F5 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
F6 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
F7 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
F8 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
F9 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
F10 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
F11 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
F12 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
G1 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
G2 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
G3 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
G4 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
G5 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
G6 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
G7 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
G8 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
G9 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
G10 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
G11 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
G12 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
H1 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
H2 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
H3 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
H4 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
H5 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
H6 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
H7 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
H8 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
H9 | 100 |  | FAIL | -100 | -100% |  | 115 | 85
H10 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
H11 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10
H12 | 0 |  | PASS | 0 | #DIV/0! |  | 10 | -10

## Raw Data
A1 | 2620763 | 52163180 | 100 | 187072044
A2 | 2620763 | 52163188 | 100 | 187072052
A3 | 2620763 | 52163196 | 100 | 187072060
A4 | 2620763 | 52163204 | 100 | 187072068
A5 | 2620763 | 52163212 | 100 | 187072076
A6 | 2620763 | 52163220 | 100 | 187072084
A7 | 2620763 | 52163228 | 100 | 187072092
A8 | 2620763 | 52163236 | 100 | 187072100
A9 | 2620763 | 52163244 | 100 | 187072108
A10 | 2620763 | 52163252 | 100 | 187072116
B1 | 2620763 | 52163181 | 100 | 187072045
B2 | 2620763 | 52163189 | 100 | 187072053
B3 | 2620763 | 52163197 | 100 | 187072061
B4 | 2620763 | 52163205 | 100 | 187072069
B5 | 2620763 | 52163213 | 100 | 187072077
B6 | 2620763 | 52163221 | 100 | 187072085
B7 | 2620763 | 52163229 | 100 | 187072093
B8 | 2620763 | 52163237 | 100 | 187072101
B9 | 2620763 | 52163245 | 100 | 187072109
B10 | 2620763 | 52163253 | 100 | 187072117
C1 | 2620763 | 52163182 | 100 | 187072046
C2 | 2620763 | 52163190 | 100 | 187072054
C3 | 2620763 | 52163198 | 100 | 187072062
C4 | 2620763 | 52163206 | 100 | 187072070
C5 | 2620763 | 52163214 | 100 | 187072078
C6 | 2620763 | 52163222 | 100 | 187072086
C7 | 2620763 | 52163230 | 100 | 187072094
C8 | 2620763 | 52163238 | 100 | 187072102
C9 | 2620763 | 52163246 | 100 | 187072110
C10 | 2620763 | 52163254 | 100 | 187072118
D1 | 2620763 | 52163183 | 100 | 187072047
D2 | 2620763 | 52163191 | 100 | 187072055
D3 | 2620763 | 52163199 | 100 | 187072063
D4 | 2620763 | 52163207 | 100 | 187072071
D5 | 2620763 | 52163215 | 100 | 187072079
D6 | 2620763 | 52163223 | 100 | 187072087
D7 | 2620763 | 52163231 | 100 | 187072095
D8 | 2620763 | 52163239 | 100 | 187072103
D9 | 2620763 | 52163247 | 100 | 187072111
D10 | 2620763 | 52163255 | 100 | 187072119
E1 | 2620763 | 52163184 | 100 | 187072048
E2 | 2620763 | 52163192 | 100 | 187072056
E3 | 2620763 | 52163200 | 100 | 187072064
E4 | 2620763 | 52163208 | 100 | 187072072
E5 | 2620763 | 52163216 | 100 | 187072080
E6 | 2620763 | 52163224 | 100 | 187072088
E7 | 2620763 | 52163232 | 100 | 187072096
E8 | 2620763 | 52163240 | 100 | 187072104
E9 | 2620763 | 52163248 | 100 | 187072112
F1 | 2620763 | 52163185 | 100 | 187072049
F2 | 2620763 | 52163193 | 100 | 187072057
F3 | 2620763 | 52163201 | 100 | 187072065
F4 | 2620763 | 52163209 | 100 | 187072073
F5 | 2620763 | 52163217 | 100 | 187072081
F6 | 2620763 | 52163225 | 100 | 187072089
F7 | 2620763 | 52163233 | 100 | 187072097
F8 | 2620763 | 52163241 | 100 | 187072105
F9 | 2620763 | 52163249 | 100 | 187072113
G1 | 2620763 | 52163186 | 100 | 187072050
G2 | 2620763 | 52163194 | 100 | 187072058
G3 | 2620763 | 52163202 | 100 | 187072066
G4 | 2620763 | 52163210 | 100 | 187072074
G5 | 2620763 | 52163218 | 100 | 187072082
G6 | 2620763 | 52163226 | 100 | 187072090
G7 | 2620763 | 52163234 | 100 | 187072098
G8 | 2620763 | 52163242 | 100 | 187072106
G9 | 2620763 | 52163250 | 100 | 187072114
H1 | 2620763 | 52163187 | 100 | 187072051
H2 | 2620763 | 52163195 | 100 | 187072059
H3 | 2620763 | 52163203 | 100 | 187072067
H4 | 2620763 | 52163211 | 100 | 187072075
H5 | 2620763 | 52163219 | 100 | 187072083
H6 | 2620763 | 52163227 | 100 | 187072091
H7 | 2620763 | 52163235 | 100 | 187072099
H8 | 2620763 | 52163767 | 100 | 187072107
H9 | 2620763 | 52163251 | 100 | 187072115

## Validation
Intended Use: [use Alt+Enter for carriage return]
Requirements and Testing
Worksheet ID: |  | Analysis
Line # | Requirement [Use as many lines as necessary to identify all calculation and conditional formatting formulae] | Test Description [Identify test data and entry instructions to demonstrate that the functions are correct] | Expected Results | Pass / Fail | Initial & Date | Comments
1 | When the volume data is retrieved for the barcode of interest and pasted onto the "Raw Data" worksheet, the volumes are imported into the B column. In B column: ‘=SUM(IF(A4='Raw Data'!B:B,'Raw Data'!E:E,IF(A4='Raw Data'!A:A,'Raw Data'!D:D,0)))’ | Paste data from barcode 7670323. | For Well Positions A1-A3, target volume = 399. For Well Positions A4-A12, target volume = 0. | Pass | GLM 5/9/2013
2 | When the reported volume of a well is entered, the worksheet will calculate the uL difference. Column E = (C#-B#). | Enter 350 into C4. Enter 450 into C4. Enter 0 into C4. | E4 = -49. E4 = 51. E4 = -399. | Pass | GLM 5/9/2013
3 | When the reported volume of a well is entered, the worksheet will calculate the % difference. Column F = E#/B#. | Enter 350 into C4. Enter 450 into C4. Enter 0 into C4. | F4 = -12.28%. F4 = 12.78%. F4 = -100.00% | Pass | GLM 5/9/2013
4 | When the target volume of a well is entered, the worksheet will calculate the High Tolerance. Column H = (B#*1.05)+10. | Enter 399 into B4. | H4 = 429. | Pass | GLM 5/9/2013
5 | When the target volume of a well is entered, the worksheet will calculate the Low Tolerance. Column I = (B#*0.95)-10. | Enter 399 into B4. | H4 = 369. | Pass | GLM 5/9/2013
6 | When the reported dispense of a well is entered, the worksheet will alert the user if the well passes or fails with a green or red indicator. Column D =IF(AND(C4<=H4,C4>=I4),"PASS","FAIL"). | Enter 350 into C4. Enter 400 into C4. Enter 0 into C4. Enter 0 into C7. | D4 = FAIL. D4 = PASS. D4 = FAIL. D7 = PASS. | Pass | GLM 5/9/2013
7 | Security: All cells except those required for user entry are locked. 1. Select all cells in worksheet. 2. Format >> Cells… >> Protection [tab] and check Locked and select OK. 3. Now select all cells in worksheet that require user entry and set protection as Unlocked and OK. 4. Under Tools >> Protection >> Protect Sheet … and make sure "Protect worksheet and contents of locked cells" is Checked and select OK. | Enter information into any Unlocked cell. Try to edit any formula or Locked cell. | For Unlocked cells, information is accepted without error For Locked Cells, an Error message indicating that the cells are protected appears and data is not accepted. | Pass | GLM 5/9/2013
Worksheet ID: |  | Raw Data
Line # | Requirement [Use as many lines as necessary to identify all calculation and conditional formatting formulae] | Test Description [Identify test data and entry instructions to demonstrate that the functions are correct] | Expected Results | Pass / Fail | Initial & Date | Comments
1 | No calculations are done on this tab. Raw data is pasted onto this sheet at the specified cell. | Paste data from barcode 7670323. | Position, Mfg Item, Sample ODs and Sample Volume data appear for the barcode of interest. | Pass | GLM 5/9/2013
3 | Security: All cells except those required for user entry are locked. 1. Select all cells in worksheet. 2. Format >> Cells… >> Protection [tab] and check Locked and select OK. 3. Now select all cells in worksheet that require user entry and set protection as Unlocked and OK. 4. Under Tools >> Protection >> Protect Sheet … and make sure "Protect worksheet and contents of locked cells" is Checked and select OK. | Enter information into any Unlocked cell. Try to edit any formula or Locked cell. | For Unlocked cells, information is accepted without error For Locked Cells, an Error message indicating that the cells are protected appears and data is not accepted. | Pass | GLM 5/9/2013 | This worksheet is to remain unlocked. Data is pasted onto this worksheet.
Sharing your Workbook and generating History audit trail. IMPORTANT! Create and protect each worksheet prior to Sharing the Workbook
Line # | Requirement | Test Description | Expected Result | Pass / Fail | Initial & Date | Comments
| Tracking Changes: 1. Open the Tools >> Share Workbook… menu. 2. On the Editing Tab, make sure "Allow Changes by more than one user…" is Checked. 3. On the Advanced Tab check "Keep change history for: 1825 days". 4. Select update changes "When file is saved". 5. Select "The changes being saved win". 6. Print and filter settings are Checked and select OK (this will automatically save the workbook). | Test and view History of tracked changes to ensure Audit trail is acceptable for use. 1. In the Tools >> Options >> General Tab, enter your name in the User field. Select OK. 2. In the workbook being tested, enter "Audit Test" into one of the unlocked user entry cells and Save the workbook. 2. Open the Tools >> Track Changes >> Highlight Changes … menu. 3. Check "Track changes while editing". 4. Unckeck "Who", "When", and "Where" 5. Uncheck "Highligh changes on screen" 6. Check "List changes on a new sheet". and press OK. NOTE: Once completed, delete your changes and save the workbook prior to controlling in Pilgrim. | The History tab should appear. Select Audit Test from the New Value column filter drop-down list and verify that the Date, Time, Your Name, Worksheet Name, and Cell Range match your actions for the changes made. | Pass | GLM 5/9/2013
| Validation Plan Created By | Golda Monohon | Validation Plan Created Date | 2013-05-09
| Validation Plan Approved By | Curt Franklin | Validation Plan Approved Date | 2013-05-09